PI 020–3

25 September 2007

PIC/S GUIDANCE DOCUMENT FOR INSPECTORS

SITE MASTER FILE FOR PLASMA WAREHOUSES

© PIC/S September 2007

Reproduction prohibited for commercial purposes.

Reproduction for internal use is authorised,

provided that the source is acknowledged.

Editor: PIC/S Secretariat e-mail: info@picscheme.org web site: http://www.picscheme.org

TABLE OF CONTENTS

Page

1.	Document history	1

2.	Introduction	1

3.	Purpose	2

4.	Scope	3

5.	Site master file	3

6.	Revision history	3

# 1.	DOCUMENT HISTORY

| Adoption by the PIC/S Committee | 3 June 2003 |
| --- | --- |
| Entry into force | 15 July 2003 |

# 2.	INTRODUCTION

2.1	The Site Master File for Plasma warehouses (SMF – PW) refers to the PIC/S Guide to Inspections of Source Plasma Establishments and Plasma Warehouses (PI 008) and should be read in close conjunction to it; relevant terminology can be found there. It is based on the information as given in the PIC/S document PE 008.

2.2	The SMF – PW should be completed by the manufacturer. In case of more than on choice the correct boxes should be marked and missing entries should be filled in. Hand-written entries must be easily legible (use printed / block letters). Numerical data should refer to a calendar year.

2.3	In order to provide actual information the SMF – PW should be completed not earlier than approximately six (6) weeks prior to the inspection.

2.4	The SMF – PW should be sent back to the authority not later than four (4) weeks prior to the inspection. In exceptional cases it may be handed over to the inspector immediately prior to the inspection at the latest.

2.5	When submitted to a regulatory authority, the SMF – PW provides information on the manufacturer’s operations and procedures that can be useful in the efficient planning and undertaking of an inspection. The SMF – PW will also be part of the inspection report.

2.6	Copies of the following documents should be added to the SMF - PW (the inspector may request additional copies of other documents):

- Manufacturing license, if applicable

- All amendments / supplements to the manufacturing license, if applicable

- Annual Registration (in the U.S.A. only)

- Additional State Licenses (if applicable)

- Last inspection report (including any observation) issued by the National Authority (in the U.S.A.: Form 483 or Warning Letter) and response of the Plasma warehouse

- Organisation chart for the overall company and for the Plasma warehouse 
 (also showing the names of responsible persons)

- Actual floor plan with indication of at least the following areas

- Plasma receiving area

- Shipment preparation area

- Plasma storage area (quarantine and release status)

- Storage area for samples (if applicable) and for intermediates from plasma (if applicable)

- Storage area for other freezing goods (if applicable)

- Storage area for Look back units and for other rejected material

- Biohazard room (including the way for biohazard into the storage room and out of  this room for shipment)

2.7	The following documents should be available for the inspection:

- Quality Assurance (QA) handbook (procedures)

- Self inspections (program and documentation of execution)

- Job descriptions of persons in responsible positions

- Training program (and documentation)

- Sanitation and pest control program (and documentation)

- Incidents, accidents, errors, complaints, recalls (SOP and documentation of execution)

- Release and distribution of plasma (SOP and documentation)

- Shipment documents

- Look back procedures (SOP and documentation)  - if performed by the plasma warehouse -

# 3.	PURPOSE

3.1	The purpose of this document is to provide guidance for companies on how to create basic information about their activities that can be useful for them and to the regulatory authority in planning and conducting inspections. The completed SMF – PW should be part of the inspection report.

3.2	This document should also be a source for training purposes for inspectors.

# 4.	SCOPE

4.1	This documents applies to Plasma warehouses.

4.2	At the time of issue, this document reflected the current state of the art. It is not intended to be a barrier to technical innovations or the pursuit of excellence. The advice in this document is not mandatory for industry. However, industry should consider this recommendations as appropriate.

4.3	The SMF – PW will be regularly adapted to current facts, if necessary.

# 5.	SITE MASTER FILE

Refer to Annex for the format to be used.

# 6.	REVISION HISTORY

| Date | Version Number | Reasons for revision |
| --- | --- | --- |
| 1 July 2004 | PI 020-2 | Change in the Editor’s co-ordinates |
| 25 September 2007 | PI 020-3 | Change in the Editor’s co-ordinates |

Annex: Site Master File for Plasma Warehouses

Annex:

### Site Master File for Plasma Warehouses (SMF – PW)

| Plasma Warehouse : (Name, address, company, Phone and Fax-No., Email) |  |
| --- | --- |

Signature and title:

(Responsible person from the Corporate Office / Management)

Date of preparation:

Signature and title:

(Manager / Production Manager as responsible person for the Plasma Warehouse)

| 1. General information |
| --- |
|  | Remarks (not to be filled in by the company) |
| 1.1. Contact Person for the Health Authority (Name, title, address, Phone No., Fax No., Email ) |  |  |
| 1.2. Opening hours / hours of operation | Day: | Opening hours |  |
|  |  | From (a.m.): | Till (p.m.): |  |
|  | Mo. |  |  |  |
|  | Tu. |  |  |  |
|  | We. |  |  |  |
|  | Th. |  |  |  |
|  | Fr. |  |  |  |
|  | Sa |  |  |  |
|  | Su |  |  |  |
|  | Total hours per week: hours |  |
| 1.3. Date of opening in the actual location by the current owner / company | (Month, day, year) |  |

| 2. Licenses from the competent authority / authorities |
| --- |
|  | Remarks (not to be filled in by the company) |
| 2.1. Manufacturing / Storage License by the national authority (in the U.S.A, Biologics License if applicable) | License available: Yes: No: License Number: | Date of issue: | N/A: |  |
|  |  | Expiry date: | N/A: |  |
|  | Last amendment (date) | None: |  |
| 2.2. Other (national) State Licenses | Available: | Not available: | Not required: |  |
| 2.3. Current Annual Registration (U.S.A. only) | Date of issue: | Registration No.: |  |

| 3. Official Inspections |
| --- |
|  | Remarks (not to be filled in by the company) |
| 3.1. Last inspection performed by the competent National Authority - date and result - | Date: |  |
|  | No observation | Inspection report with observations (U.S.A.: Form 483) | Warning letter (U.S.A.) |  |
|  | Number of observations: (if applicable): |  |
| 3.2. Previous inspection (s) performed by another authority (e.g. European or PIC/S Health Authority) | Yes : | No, first inspection |  |
|  | Health Authority | Date | accepted |  |
|  |  |  | yes | no |  |

| 3. Official Inspections - continuation- |
| --- |
|  | Remarks (not to be filled in by the company) |
| 3.3. Relevant changes (warehouse related) since the last inspection (if applicable) | Only in case of repeat inspection ! |  |
| New owner | Yes: | Date of change: | No |  |
|  | Former owner: |  |  |
| Change of National License | Yes: | Date of change: | No |  |
|  | Kind of change: |  |  |
| Closure (especially for GMP related problems) | Yes: | Date of closure: | No |  |
|  |  | Date of re-opening: |  |  |
|  | Reason for closure: |  |  |
| Relocation | Yes: | Date of change: | No |  |
|  | Previous address: |  |  |
| Major remodelling | Yes: | Date of change: | No |  |
|  | Kind of change: |  |  |
| New SOP Manual | Yes: | Date of change: | No |  |
|  | Kind of change: |  |  |
| Change of persons in responsible positions | Yes: | Date of change: | No |  |
|  | Which persons? |  |  |
| Computer system in the warehouse area (e.g. new software version) | Yes: | Date of change: | No |  |
| Other relevant changes | Yes: | Date of change: | No |  |

| 4. Routine storage activities (in the warehouse) |
| --- |
|  | Remarks (not to be filled in by the company) |
| 4.1. Storage of | Storage activities |  |
| Source plasma for further manufacturing | for injectable products | No |  |
|  | Diagnostic use: | No |  |
| Intermediate products from plasma | Cryoprecipitate | No |  |
|  | Paste: | No |  |
|  | Others: | No |  |
| Plasma samples | Yes | No |  |
| Look back units | Even for a short time | No |  |
| Softgoods (for use in plasmapheresis centres) | Yes | No |  |
| other material (specify) - only if stored on a routine basis- | Yes |  | No |  |
| 4.2. Customers (names and addresses) | See attachment (please add attachment and assign the customer to the material to be stored) |  |

| 5. Other activities (performed by / on behalf of the plasma warehouse) |
| --- |
|  | Remarks (not to be filled in by the company) |
| 5.1. Transport of plasma (or intermediates from plasma) to the warehouse | Yes | No |  |
| If yes: trucks in use | Company owned only: | Leased: | No own trailers: |  |
| If yes: trailers in use | Company owned only: | Leased: | No own trailers: |  |
| If no: carrier(s) – name, address - | 1. |  |
|  | 2. |  |
|  | 3. |  |
| 5.2. Shipment of plasma (or intermediates from plasma) from the central warehouse | Yes | No |  |
| if yes: trucks | Company owned only: | Leased: | No own trailers: |  |
| trailers | Company owned only: | Leased: | No own trailers: |  |
| if no: carrier(s) – name, address - | 1. |  |
|  | 2. |  |
| 5.3. Handling of look back units | Yes | Not performed |  |
| shipping to other companies | Yes | Companies (name, address): | No |  |
| 5.4. Other activities of the warehouse | Yes | if applicable, specify: | No |  |

| 6. Quality Assurance (QA) |
| --- |
|  | Remarks (not to be filled in by the company) |
| 6.1. Quality Assurance Person (s) / Specialist(s) in the warehouse | Name | No additional functions | . |
| 6.1.1. Name (s) | 1. |  |  |
|  | 2. |  |  |
|  | 3. |  |  |
|  | if more than 3 persons please add attachment |  |
| 6.1.2. Training / Certification * certification according to the company’s own procedure | Training | Certification |  |
|  | completed (date) | not com-pleted | Date | not certified |  |
| QA Specialist No. 1 |  |  |  |  |  |
| QA Specialist No. 2 |  |  |  |  |  |
| QA Specialist No. 3 |  |  |  |  |  |
| Other / more QA Specialists | Please add attachment for names, training and certification |  |
| Requirement for company’s own certification defined in writing (SOP) | Yes | SOP-No.: | Not defined: |  |
| 6.2. Duties of QA persons defined in writing? | Yes | SOP-No.: | Not defined: |  |
| 6.2.1. Regular checks of documentation performed by QA person (s) | Frequency |  |
|  | daily | weekly | monthly | quarterly | yearly | Other (which?) |  |
| review of SOP’s / Training Manual |  |  |  |  |  |  |  |
| review of maintenance log |  |  |  |  |  |  |  |
| review of calibration log |  |  |  |  |  |  |  |
| review of daily temperature log |  |  |  |  |  |  |  |
| compliance of alarm checks |  |  |  |  |  |  |  |
| incident records / accidents, complaints, recalls etc. |  |  |  |  |  |  |  |

| 6. Quality Assurance (QA) – continuation - |
| --- |
|  | Remarks (not to be filled in by the company) |
| 6.3. Self Inspections (audits of performance) routinely performed according to a pre-arranged program | Yes | SOP-No.: | No |  |
|  | Routinely done, but not according to a program | Sporadically performed |  |
| 6.3.1. Program defines (at least) | Areas to be audited | Frequency per year | Auditor | No pro-gram |  |
| 6.3.2. Audits performed by |  |  |
| Members from the Corporate Office | Yes | No | Frequency per year (at least) |  |
|  |  |  | Once: | Other (which?) |  |
|  | Date of last Audit: | Last Audit |  |
|  |  | Closure date: | Not closed: |  |
| Regional Manager | Yes | No | Frequency per year (at least) |  |
|  |  |  | Once: | Other (which?) |  |
|  | Date of last Audit: | Last Audit |  |
|  |  | Closure date: | Not closed: |  |
| QA Person of the warehouse | Yes | No | Frequency per year (at least) |  |
|  |  |  | Once: | Other (which?) |  |
|  | Date of last Audit: | Last Audit |  |
|  |  | Closure date: | Not closed: |  |
| Other persons from the company | Yes | No | Frequency per year (at least) |  |
|  |  |  | Once: | Other (which?) |  |
|  | Date of last Audit: | Last Audit |  |
|  |  | Closure date: | Not closed: |  |

| 6. Quality Assurance (QA) – continuation - |
| --- |
|  | Remarks (not to be filled in by the company) |
| 6.4. Trend analyses |  |  |
| performance defined in writing | Yes | SOP-No.: | No |  |
| performed for | Accidents: | Complaints: | Recalls: |  |
|  | Others: |  |
| Summary reports | Frequency: |  |
|  | Provided to : |  |

| 7. Personnel |
| --- |
|  | Remarks (not to be filled in by the company) |
| 7.1. Responsible Director / Manager / Production Manager of the central plasma warehouse | Name: |  |
| employed as such | Since (month, year): |  |
| job description | Date of signature: | N / A |  |
| 7.2. Number of employees in the plasma warehouse | Total number: | Number of staff, employed |  |
|  |  | Full-time: | Part-time: |  |
| 7.3. GMP Training | Training of plasma warehouse employees |  |
| performed according to a pre-arranged written program | Yes | SOP-No.: | No |  |
| check of competency after completion of training | Yes | SOP-No.: | No |  |
|  | Written test: | Performance check: |  |  |
| frequency of re-training per year (at least) | Once | Other (which?): |  |
| effectiveness of training periodically assessed | Yes | SOP-No.: | No |  |
|  | Written test : | Practical test: |  |  |
| requirements for trainers (assessment) defined in writing | Yes | SOP-No.: | No |  |
|  | Written test: | Performance check: |  |  |
| 7.4. List of initials / signatures | Responsible persons in the warehouse |  |
| requirements defined in writing | Yes | SOP-No.: | No |  |
| updated on defined intervals | Yes | Interval: | No |  |

| 8. Rooms and Equipment |
| --- |
|  | Remarks (not to be filled in by the company) |
| 8.1. Trucks / trailer | only if company owned or leased |  |
| Number | trucks: | N / A | trailer: | N / A |  |
| Qualification of trailer | completed | Not completed |  |
| installation qualification |  |  |  |
| operation qualification |  |  |  |
| performance qualification |  |  |  |
| qualification requirement defined in writing | Yes | SOP-No.: | No |  |
| Procedure defined in case of (critical) equipment change | Yes | SOP-No.: | No |  |
| 8.2. Seize of the warehouse facility | In total: | Freezer / freezing rooms: |  |
| 8.3. Cold room(s) in front of the freezer(s) / freezing rooms available? | Yes: | No: |  |
| if yes: temperature defined | Yes | SOP-No.: | No |  |
|  | Temperature (°C): |  |
| main activities in the cold room(s) | Shipment | Others: |  |
|  | Receiving | Preparation |  |  |
| 8.4. Number of freezer (s), freezing rooms (s) | One | Two | Three | More: |  |
| 8.5. Storage capacity in the freezer (s) (for frozen material) -approximately | Litre plasma: | Units of plasma: |  |
| 8.6. Storage locations in the freezer(s) / freezing rooms defined or identified by | Numbers for | Others: |  |
|  | Fixed pallets | Bins | Loca-tion |  |  |
| 8.7. Products stored in the freezer (s) / freezing rooms on racks | Yes | Level of racks: | No |  |

| 8. Rooms and Equipment - continuation - |
| --- |
|  | Remarks (not to be filled in by the company) |
| 8.8. Number of compressors for the freezer(s) / freezing rooms | One: | Two: | more: |  |
| if more than one compressor: compressors run alternately | Yes | Rotation approx. every: | No | N / A |  |
| 8.9. Back up generator available | Yes | No |  |
| if yes: frequency of routine maintenance defined in writing | Yes | SOP-No.: | No |  |
| maintenance performed every |  |  |
| maintenance includes always a test run | Yes | Not always: | No |  |
| 8.10. Outside storage (external location) in use for If yes: | documents related to warehouse activities |  |
|  | Address: | Not in use |  |
| unchanged since the last inspection | Yes | No, changed since: |  |
| location / warehouse defined in writing (kind of warehouse, location address, leased, company owned) | Yes | SOP (or document) No: | Not defined |  |
| responsibilities defined in writing | Yes | SOP (or document) No: | Not defined |  |
| requirements (e.g. restricted access, protection against loss) defined in writing | Yes | SOP (or document) No: | Not defined |  |
| storage time in the plasma warehouse | At least (years) | Other: |  |
|  | One | Two |  |  |
|  | Defined in writing: | SOP-No.: | Not defined |  |
| 8.11. Total storage time for documents | years | Defined in SOP No: | Not defined |  |

| 9. Freezer(s) |
| --- |
|  | Remarks (not to be filled in by the company) |
| 9.1. Freezer temperature defined as | at least –20° C: | at least –30°C: | others (specify): |  |
| 9.2. Freezer temperature recorders | Number: |  |
| 9.3. Frequency of (additional) manual temperature reading (per day) | once |  | other (specify): | N / A |  |
|  | twice |  |  |  |  |
|  | 3 times |  |  |  |  |
| manual reading performed by | company own staff only: | external staff: |  |
| maximum acceptable difference of manual temperature reading to automatic temperature recording defined | Yes | SOP-No.: | No |  |
|  | Maximum temperature difference (°C): |  |
| 9.4. Alarm device |  |  |
| Alarm start / Alarm set defined | Yes | SOP-No.: | No |  |
|  | Temperature (C): | Difference to minimum temperature defined as (C): |  |
| 9.5. Alarm checks : |  |  |
| procedure defined in writing | Yes | SOP-No.: | No |  |
| procedure includes at least | Temperature causing the alarm (from the probe): | Max. acceptable response time of the alarm company : |  |
| Frequency of performance | Monthly: | Every 2 months: | Every 3 months: |  |
|  | other (specify): |  |
| Checks performed | additionally to “real” alarms (caused by accident) |  |
|  | Yes | No |  |

| 9. Freezer(s) - continuation - |
| --- |
|  | Remarks (not to be filled in by the company) |
| 9.6. Validation of freezer(s) completed | Yes | Date of completion: | Not performed / not completed |  |
| 9.7. Freezer failures |  |  |
| Procedure of handling freezer failures defined in writing | Yes | SOP-No.: | No |  |
| 9.8. Number of freezer failures | Current year (till preparation of the SMF): | Previous year |  |
| causing use of dry ice |  |  |  |
| causing plasma reclassification |  |  |  |
| other freezer failures |  |  |  |

| 10. Hygiene program (sanitation) |
| --- |
|  | Remarks (not to be filled in by the company) |
| 10.1. External janitorial company | same company used since: (month, year) | N / A |  |
|  | Contract available: | Not available: |  |
| 10.2. Sanitation program (written procedure) available | Yes | SOP-No.: | No |  |
| 10.3. Documentation available about cleaning / sanitation of | Storaging areas / rooms: | Equipment: | Others: |  |
| performed by | Janitorial staff: | Warehouse staff: |  |
| 10.4. Pest control |  |  |
| Written procedure available | Yes | SOP-No.: | No |  |
| Frequency (routinely) | Once per month: | Other frequency (specify): |  |
| Documentation available, showing at least | Date of performance | Areas | Measures | No |  |
| Contract with the external company | Available: | Not available: |  |

| 11. Receiving of plasma (and plasma products) |
| --- |
|  | Remarks (not to be filled in by the company) |
| 11.1. Plasma receiving / arrival | Day | Time (approximately) | N / A |  |
|  | Mo |  |  |  |
|  | Tu |  |  |  |
|  | We |  |  |  |
|  | Th |  |  |  |
|  | Fr |  |  |  |
|  | Sa |  |  |  |
|  | Su |  |  |  |
| 11.2. Volume per day (approx.): | Cartons: | Litre plasma: |  |
| 11.3. Responsibility for the shipment to the plasma warehouse by | Plasma deliverer: | Warehouse itself: |  |
|  | Carriers of plasma: | Others: |  |
|  | Defined in writing: | Not defined: |  |
| 11.4. Temperature during shipment |  |  |
| continuously recorded according to a written procedure? | Yes | SOP-No.: | No |  |
| temperature defined in a written procedure? | Yes | SOP-No.: | No |  |
| temperature defined as | At least -20°C: | At least –05° C: | others (specify): |  |
| information to the customer if the temperature (-20°C or colder) is inadvertently exceeded for only one event and for not longer than 72 hours and the temperature was at least -5°C | Routinely given to the customer | Not / not always given to the customer |  |
|  | Procedure defined in SOP-No. | Not defined |  |

| 11. Receiving of plasma (and plasma products) – continuation - |
| --- |
|  | Remarks (not to be filled in by the company) |
| 11.5. Temperature check on the truck trailer after arrival |  |  |
| written procedure available? | Yes | SOP-No.: | No |  |
| temperature checks | Regularly performed on each arrival: | No |  |
| 11.6. Other checks after arrival |  |  |
| defined in writing | Yes | SOP-No.: | No |  |
| checks include | Damage: | Ice on cartons: | Others: | N / A |  |
| documentation | Available: | No |  |
| 11.7. Procedure if any of the required checks (after product arrival) failed |  |  |
| defined in writing | Yes | SOP-No.: | No |  |
| 11.8. Procedure for taking in inventory |  |  |
| defined in writing | Yes | SOP-No.: | No |  |
| includes scanning of | Each carton: | No |  |
|  | Each plasma unit: | No |  |

| 12. Storage of plasma |
| --- |
|  | Remarks (not to be filled in by the company) |
| 12.1. Storage procedure defined in writing | Yes | SOP-No.: | No |  |
| 12.2. Cartons placed on pallets | Yes | but not in every case: | No |  |
| 12.3. Plastic pallets only (at least for storage purposes in the warehouse) | Yes | but not in every case: | No |  |
| 12.4. Wooden pallets in use for plasma / intermediates from plasma | Yes | for shipment only: | On arrival (e.g. from third parties): | No |  |
| 12.5. Pallets stored on racks / pallet places in the warehouse | Yes | Number of | No |  |
|  |  | Racks: | Pallet places: |  |  |
| 12.6. Pallets with barcodes | Yes | Not in every case: | No |  |
| 12.7. Each pallet is stretch-wrapped? | Yes | Not in every case: | No |  |
| 12.8. Storage time in the warehouse (on average) for | Plasma: | Intermediates: |  |

| 13. Preparation and shipment of plasma / intermediates from plasma |
| --- |
|  | Remarks (not to be filled in by the company) |
| 13.1. Responsibility for the shipment from the plasma warehouse to the customer by | the deliverer of plasma for storaging: | the warehouse: |  |
|  | the consignee overseas: | other third parties: |  |
| 13.2. Customers (names and addresses) (routine shipment of plasma / plasma products to other locations / other companies) | See attachment (please add attachment and assign the customer to the material to be stored) |  |

| 13. Preparation and shipment of plasma / intermediates from plasma - continuation - |
| --- |
|  | Remarks (not to be filled in by the company) |
| 13.3. Shipment of plasma / intermediates | Plasma / intermediates from the own company |  |
| as released products | Yes | No | Not only: | N / A |  |
| with unchanged status | Plasma / intermediates from third parties |  |
|  | Yes | No | Not only: | N / A |  |
| 13.4. Preparation of shipment | Plasma / intermediates from plasma |  |
| procedure defined in writing | Yes | SOP-No.: | No |  |
| scanning of | Each pallet: | No |  |
|  | Each carton: | No |  |
|  | Each plasma unit: | No |  |
| cartons | Unpacked and again packed: | Not unpacked: |  |
| if cartons are unpacked: | Each plasma unit is scanned | plasma units are not scanned: |  |
| 13.5. Shipment | Plasma / intermediates from plasma |  |
| procedure defined in writing | Yes | SOP-No.: | No |  |
| 13.6. Shipment temperature |  |  |
| in overseas containers defined in writing | Yes | SOP-No.: | No |  |
|  | Temperature at least –20°C : | others (specify): |  |
| in containers for air lines defined in writing | Yes | SOP-No.: | No |  |
|  | Temperature at least –20°C : | others (specify): |  |
| controlled during shipment | Yes | Kind of control: | No |  |

| 14. Sorting out of Look back units (if applicable) |
| --- |
|  | Remarks (not to be filled in by the company) |
| 14.1. Companies, for which Look back units are sorted out: |  |  |
| own company only | Yes | No |  |
| other companies (specify) | 1. |  |
|  | 2. |  |
|  | 3. |  |
|  | 4. |  |
|  | 5. |  |
|  | 6. |  |
| 14.2. Procedure |  |  |
| defined in writing | Yes | SOP-No.: | No |  |
| Look back units scanned by barcode | Yes | No |  |
| double check during sorting out | Yes | No |  |
| re-labelling after sorting out | Yes | No |  |
| storage of Look back units under lock and key (until destruction or shipment)? | Yes | No |  |
| 14.3. Documentation available about |  |  |
| destruction | Yes | No |  |
| shipment (if applicable) | Yes | No |  |

| 15. General documentation |
| --- |
|  | Remarks (not to be filled in by the company) |
| 15.1. Documentation system defined in writing | Yes | SOP-No.: | No |  |
| 15.2. Documentation | Fully automatically: | Partly / not automatically: |  |
| 15.3. Changes of entries into the computer system (if applicable) traceable as to the | Date: | Time: | Person: |  |
| 15.4. Storage of documents | as hard copies | by electronic measures |  |
|  | Minimum storage time (years) –at least- |  |
|  | Defined | SOP-No.: | Not defined |  |
| 15.5. Protection of data |  |  |
| regular back up | By tape: | By other measures (specify): |  |
| frequency of back up | Daily: | Weekly: | Other: |  |

| 16. Incidents, accidents, errors, complaints and recalls |
| --- |
|  | Remarks (not to be filled in by the company) |
| 16.1. Incident reports | Reportable / non reportable reports |  |
| procedure defined in writing | Yes | SOP-No.: | No |  |
| (at least most frequent) reasons for incident reports defined | Yes | No |  |
| maximum time period defined for investigation | Yes | No |  |
| QA check of incident reports | Yes, required | Maximum time period defined: |  |
| 16.2. Errors / incidents (number) | Current year (until preparation of SMF) | Last year |  |
| related to storaging |  |  |  |
| related to transportation / shipment |  |  |  |
| 16.3. Recalls (number) | Current year (until preparation of SMF) | Last year |  |
| Total number |  |  |  |